Below is a list of items HHI inspects:

I.  Roofing

1.0	Roof Coverings

1.1	Flashings

1.2	Skylights, Chimneys and Roof Penetrations

1.3	Roof Drainage Systems

II.  Exterior

2.0	Wall Cladding Flashing and Trim

2.1	Doors (Exterior)

2.2	Windows

2.3	Decks, Balconies, Stoops, Steps, Areaways, Porches, Patio/Cover and Applicable Railings

2.4	Vegetation, Grading, Drainage, Driveways, Patio Floor, Walkways and Retaining

Walls (With respect to their effect on the condition of the building)

2.5	Eaves, Soffits and Fascia

III.  Garage

3.0	Garage Ceilings

3.1	Garage Walls (including Firewall Separation)

3.2	Garage Floor

3.3	Garage Door(s)

3.4	Occupant Door (from garage to inside of home)

3.5	Garage Door Operators (Report whether doors reverse when met with

resistance

IV.  Interiors

4.0	Ceilings

4.1	Walls

4.2	Floors

4.3	Steps, Stairways, Balconies and Railings

4.4	Counters and Cabinets (representative number)

4.5	Doors (representative number)

4.6	Windows (representative number)

V.  Structural Components

5.0	Foundations, Basement and Crawlspace (Report signs of abnormal or harmful

water penetration into the building or signs of abnormal or harmful condensation on building components)

5.1	Walls (Structural)

5.2	Columns or Piers

5.3	Floors (Structural)

5.4	Ceilings (Structural)

5.5	Roof Structure and Attic

VI.  Plumbing System

6.0	Plumbing Drain, Waste and Vent Systems

6.1	Plumbing Water Supply, Distribution System and Fixtures

6.2	Hot Water Systems, Controls, Chimneys, Flues and Vents

6.4	Fuel Storage and Distribution Systems (Interior fuel storage, piping, venting, supports, leaks)

6.5	Main Fuel Shut-off (Describe location)

6.6	Sump Pump

VII.  Electrical System

7.1	Service and Grounding Equipment, Main Overcurrent Device, Main and

Distribution Panels

7.2	Branch Circuit Conductors, Overcurrent Devices and Compatibility of

Amperage and Voltage

7.3	Connected Devices and Fixtures (Observed from a representative number

operation of ceiling fans, lighting fixtures, switches, and receptacles located

inside the house, garage, and on the dwelling's exterior walls)

7.4	Polarity and Grounding of Receptacles within six feet of interior plumbing

fixtures, all receptacles in garage, carport, and exterior walls of inspected

structure

7.5	Operation of GFCI (Ground Fault Circuit Interrupters)

7.6	Location of Main and Distribution Panels

7.7	Smoke Detectors

7.8	Carbon Monoxide Detectors

VIII.  Heating / Central Air Conditioning

8.0	Heating Equipment

8.1	Normal Operating Controls

8.2	Automatic Safety Controls

8.3	Distribution Systems (including fans, pumps, ducts, and piping, with supports, insulation, air filters,

registers, radiators, fan coil units and convectors)

8.4	Presence of Installed Heat Source in Each Room

8.5	Chimneys, Flues and Vents (for fireplaces, gas water heaters or heat systems)

8.6	Solid Fuel Heating Devices (Fireplaces, Woodstove)

8.7	Gas / LP Fire Logs and Fireplaces

8.8	Cooling and Air Handler Equipment

8.9	Normal Operating Controls

8.10	Presence of Installed Cooling Source in Each Room

IX.  Insulation and Ventilation

9.0	Insulation in Attic

9.1	Insulation Under Floor System

9.2	Vapor Retarders (in Crawlspace or Basement)

9.3	Ventilation of Attic and Foundation Areas

9.4	Venting Systems (Kitchens, Baths, and Laundry)

9.5	Ventilation Fans and Thermostatic Controls in Attic

X.  Built-In Kitchen Appliances

10.0	Dishwasher

10.1	Ranges/Ovens/Cooktops

10.2	Range Hood(s) / Down Draft

10.3	Trash Compactor

10.4	Food Waste Disposer

10.5	Installed Microwave Cooking Equipment